## Sheet1
Company | Scope of Work | Control Type | Warranty | Total Cost | Deposit Terms | Lead Time | Notes
US Contracting & Plumbing (USCPS) | - Remove & dispose of old control panel and 2 Cla-Valves - Install new 460V 3-phase Duplex VFD panel - Add check valves - Startup & testing | Duplex VFD Panel | 18 months from startup | $24,600.00 | 50% upfront / balance on startup | Not specified | Simple and clear scope; focused only on control panel replacement
Alpha Pumps | - Install (2) 10 HP 460V Goulds Aquavar IPC VFDs - Includes drives, pressure sensors - Use existing pump system and electrical | VFD for each pump (Aquavar IPC) | Not listed | $6,650.00 | 50% at approval / balance on completion | 8–9 weeks after approval | Lowest cost; parts-only change—no new control panel or wiring upgrades
AB Engineering (Abemap) | - Remove old control panel - Install new FM2V Fluid Master Panel w/ (2) WEG 10HP VFDs - New disconnect, PRVs, sensors, etc. - Touchscreen panel & testing | Full system w/ PLC Touchscreen | 1 year panel/equipment 30 days labor | $20,220.01 | 60% upfront / 40% on completion | In stock | Most comprehensive proposal; includes sensors, PRVs, code compliance, training